Example for calculation of the unit price of the building work

Realize calculation of the unit price for the connective conduit from PVC in laboratory tables D 32 x 1,8

Calculation formula

Direct costs

Indirect costs

- Overhead costs 44 % from the basis (wages + other direct costs)

- Administrative expenses 26 % from the basis (wages + other direct costs + overhead costs)

Profit

- profit 8 % from the basis (wages + other direct costs + overhead costs + administrative

expenses)

Calculation unit: m

Norms:

Norms of consumption of material for m:

286 … Tube HTEM with socket DN 30mm length 1000 mm PP			0,7521	piece

286 … Branch HTEA DN 32/ 32 mm 87,5° PP					1,4	piece

286 … Angular tube outlet HTBM d 32/90°, 2 sockets PP				2	piece

484 … Tube holder steely 5/4"							1	piece

Work standards:

421 Plumber class 6			0,301	Nh

Wages:

Premium 20 % from wages