## Slide 1: Cross-section properties II
BOA001
Ing. Martin Vild, Ph.D.
9/2023

## Slide 2: Presenting
Ing. Martin Vild, Ph.D.
IDEA StatiCa – Product Owner
FCE BUT – Assistant professor
Research:
Steel connections
Finite element analysis
Scopus Author ID: 56188615700
Committee member:
CEN/TC 250/SC 3/WG 8 "Evolution of EN 1993-1-8 - Joints and connections“
ECCS TC10 “Structural Connections”
Website:
https://www.fce.vutbr.cz/KDK/vild.m/
email: vild.m@fce.vutbr.cz
Office: C203
Consultations:
Wednesday 12–13:40
Thursday 14–15:40

## Slide 3: Content
Cross-section properties
  Overview
  Coordinate systems
  Torsion
    Hollow section
    Open section
Buckling
Computational model
Perspective of a structural engineer

## Slide 4: Cross-section properties
Cartesian coordinates |  |  | Sectorial coordinates |  | 
Area | A | [m2] |  |  | 
Static moment | Sy, Sz | [m3] | Sectorial first moment | Sw | [±mm4]
Moment of inertia | Iy, Iz | [m4] | Warping constatnt | Iw | [+m6]
Deviation moment | Dyz | [m4] | Sectorial product moment | Dwy, Dwz | [±mm5]
Radius of gyration | iy, iz | [m2] |  |  | 
Polar moment of inertia | Ip | [m4] |  |  | 

## Slide 5: Cartesian coordinates
PILGR, M. Konstrukce a dopravní stavby. Pracovní verze příkladů do cvičení rozpracovaných podle národních norem ČSN [online]. Brno: 2006, 76 s
[±m]
[±m]

## Slide 6: Sectorial coordinates
PILGR, M. Konstrukce a dopravní stavby. Pracovní verze příkladů do cvičení rozpracovaných podle národních norem ČSN [online]. Brno: 2006, 76 s
[±m2]

## Slide 7: Principal coordinate system
Origin of Cartesian coordinates = Center of gravity
Correct rotation of axes
Pole of sectorial coordinates = Center of shear
Zero point is at cross-section centerline where

## Slide 8: Example
Calculate
Area
Location of center of gravity
Draw principal axes
[mm]
PILGR, M. Konstrukce a dopravní stavby. Pracovní verze příkladů do cvičení rozpracovaných podle národních norem ČSN [online]. Brno: 2006, 76 s

## Slide 9: Deviation moment
[±m4]
Use: Angle of principal axes
PILGR, M. Konstrukce a dopravní stavby. Pracovní verze příkladů do cvičení rozpracovaných podle národních norem ČSN [online]. Brno: 2006, 76 s

## Slide 10: Sectorial product moment
[±m5]
[±m5]

## Slide 11: Radius of gyration
[+m]
[+m]
Use: Member slenderness

## Slide 12: Polar moment of inertia
[m4]
For hollow sections:
http://fast10.vsb.cz/michalcova/Pruznost16_komb/K_02_16_krouceni%20teorie.pdf

## Slide 13: Torsion constant
Correction coefficient: I-shape:

## Slide 14: Center of shear

## Slide 15: Center of shear

## Slide 16: Principal sectorial coordinates
Sectorial first moment
Warping constant

## Slide 17: Load – Torsion
Load passes through center of shear → No torsion
Load through center of gravity
Load through center of shear

## Slide 18: Torsion – warping
Normal stress due to warping
[MPa]

## Slide 19: Torsion
St. Venant torsion | Warping

## Slide 20: Composite steel-concrete
https://theconstructor.org/structural-engg/steel-concrete-composite-beams/6912/

## Slide 21: Buckling

## Slide 25: Computational model
Structural engineer must:
Know structural systems
Know design procedures
Know failure modes
Estimate results – cross-sections
Check computational model by simple surrogate models

## Slide 26: Perspective of structural engineer
Engineering office
  Not only in Czechia
Authorized engineer
Manufacturer
Software

## Slide 27: Useful links
https://www.fce.vutbr.cz/KDK/pilgr.m/Vyuka-bo01/BO01_cvi.pdf
http://fast10.vsb.cz/michalcova/statika11/pr%2010-11-prurezove%20charakterisky%20barevne.pdf
http://fast10.vsb.cz/michalcova/Pruznost16_komb/K_02_16_krouceni%20teorie.pdf
https://www.youtube.com/playlist?list=PLEYqyyrm-hQ3wtF34smyJSAOqUJqnf1ch
https://www.youtube.com/c/BrendanHasty
https://www.youtube.com/@MatPicardal
Form:
https://forms.gle/3qK4LRBzUfAaxWec8

## Slide 28: Example
IPE 200, S275
mm,
mm,
mm
mm
kNm
kN
mm2
mm3
kN
kNm
[MPa]